|  |
| --- |
|  |
|  |
|  |
|  |

|  |  |
| --- | --- |
|  | **Fort Wayne City Utilities****Industrial Pretreatment Section****Industry pH Calibration Record Sheet** |
| **-The pH instrument DOES NOT pass when the instrument has an error reading when placed in a standard.****-Keep the pH meter calibration on file for a minimum of three years****-All pH calibration entrees must be dated and initialed****-Must be within +/-10% to pass** |
| Industry Official Name:       | Industry Physical Address:        | Zip Code:      |
| Instrument Make       | Instrument Model       | Instrument Serial Number       |
| **pH 4 Standard Solution**  | Manufacture/Brand       | Lot Number       | Standard Expiration       |
| **pH 7 Standard Solution** | Manufacture/Brand       | Lot Number       | Standard Expiration       |
| **pH 10 Standard Solution** | Manufacture/Brand       | Lot Number       | Standard Expiration       |
| Date | pH 4 | pH 7 | pH 10 | Temperature | Initials |
| Before Cal. | After Cal. | Before Cal. | After Cal. | Before Cal. | After Cal. | Degrees F or C |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |
|       |       |       |       |       |       |       |       |       |