## General
Project Name: |  |  | 1
Address: |  |  | 1
FALSE
Routing Type(s) Needed Please indicate the applicable review routing(s) needed for this project by selecting 'Yes' or 'No' next to each routing type. Once done, please complete the appropriate worksheet(s) for each review type requested. Please call Development Services at (260) 427-5064 if you have any questions.
Primary Development Plan
Primary Development Plat
Secondary Development Plan
Secondary Development Plat
Site Plan (SITE)
Single Family Residential (SFR)
Swimming Pools (SWIM)
Remodel
Driveway
Parking Lot
10

## Primary Development Plan
Project Name: |  | 0
Address: |  | 0
Primary Development Plan Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please identify the Project Location and complete the General Requirments section and the appropriate utility section(s) below.
Blank
Water
Stormwater
Sanitary
Project Location
Is the project located inside Fort Wayne city limits?
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
DPS Record Number/Permit Number in ACCELA
Date of Plan Preparation
Legal Description of Site
Certification by registered engineer, architect, or land surveyor
North Arrow
Location Map
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Street Names
Distance to nearest street intersection centerline
Right-of-Way encroachments identified, if any exist
Benchmarks in Horizontal NAD83/IN83-EF and Vertical NAVD 88 datums
Phasing of project if applicable
Erosion control plan adequate for all site disturbance
Comments:
16
Water Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Verify with City Utilities Engineering for water availability
Water Comments:
1
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Grading plan, if available
General Conceptual Drainage plan
Topographical and boundary survey/map
Note: The overland flow path needs identified.
Construction site dewatering discharge location, if available
Regulated drain encroachment
Field measured inverts are suggested, but not necessary
Identify all impervious surface for pre and post construction.
Note: If sewer is tapping into an existing public City storm line a special use tap permit will be required.
Typical Comments will note which of the following items will be needed at the next review:
SWPPP
Maintenance Agreement
Easements
Public Stormwater Contract
Stormwater Comments:
7
Sanitary Sewer Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Verify with City Utilities Engineering for capacity availability.
Provide anticipated flows from the proposed land use.
Sewer Comments:
2
0

## Primary Development Plat
Project Name: |  | 0
Address: |  | 0
Primary Development Plat Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please identify the Project Location and complete the General Requirments section and the appropriate utility section(s) below.
Water
Stormwater
Sanitary
Project Location
Is the project located inside Fort Wayne city limits?
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
DPS Record Number/Permit Number in ACCELA
Date of Plan Preparation
Legal Description of Site
Certification by registered engineer, architect, or land surveyor
North Arrow
Location Map
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Street Names
Existing and proposed easements - please provide document numbers for existing Easements
Right-of-Way encroachments identified, if any exist
Phasing of project if applicable
Erosion control plan adequate for all site disturbance
Comments:
15
Water Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Verify with City Utilities Engineering for water availability
Water Comments:
1
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Grading plan
General Conceptual Drainage plan
Topographical and boundary survey/map
Note: The overland flow path needs identified.
Construction site dewatering discharge location
Regulated drain encroachment
Field measured inverts are suggested, but not necessary
Identify all impervious surface for pre and post construction.
Note: If sewer is tapping into an existing public City storm line a special use tap permit will be required.
Typical Comments will note which of the following items will be needed at the next review:
SWPPP
Maintenance Agreement
Easements
Public Stormwater Contract
Stormwater Comments:
7
Sanitary Sewer Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Verify with City Utilities Engineering for capacity availability.
Sewer Comments:
1
0

## Secondary Development Plan
Project Name: |  | 0
Address: |  | 0
Secondary Development Plan Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please identify the Project Location and complete the General Requirments section and the appropriate utility section(s) below.
Water
Stormwater
Sanitary
Project Location
Is the project located inside Fort Wayne city limits?
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
DPS Record Number/Permit Number in ACCELA
Date of Plan Preparation
Certification by registered engineer, architect, or land surveyor
North Arrow
Location Map
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Distance to nearest street intersection centerline
Existing and proposed easements - please provide document numbers for existing Easements
Finished floor or slab elevations shown in North American Datum of 1988 (NAVD 88) datum
Proposed intended use
Location, size and depth of all existing water, sanitary sewer and stormwater piping
Location, size and depth of all proposed water, sanitary sewer and stormwater piping
Phasing of project if applicable
Erosion control plan adequate for all site disturbance
Comments:
17
Water Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Each building must have an independent connection to a public water main.
Combination water services (fire, domestic and irrigation) must have outside the building private curbstops/valves to allow for each service to be operated independently of the other services.
Location of water point of connection and service size.
Elevations of all utilities in proximity or at crossing of water and sewer pipes.
Length, size, and material type of proposed water service.
Plumbing plans to include all piping and fixture inside building including isometric, meter (include locking bypass on all meters 1 1/2” and larger) and expected flows (in GPM).
Provide calculated maximum water demand for facility.
Water main extension projects require hydraulic calculations in accordance with Design Standards Manual. Submittal shall include all of the following: Exhibit W5-2, Exhibit W5-3, Exhibit W5-4, Exhibit W5-5, Exhibit W5-6, Exhibit W5-7, Exhibit W5-8.
Water Comments:
8
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Stormwater Management Plan
Drawings
Topographical/boundary survey
Note: Survey must include the following: · Overland flow path and elevations need to be identified. · Flood protection grade should be labeled for every building. · Any applicable FEMA map should be referenced by number. · A statement addressing the potential wetlands based on the National Wetlands Inventory Maps or best available information as designated by CUE.
Proposed and existing drainage plan, including discharge points for existing and/or proposed sump pumps, geothermal systems, and downspouts
Proposed stormwater infrastructure
Detention and post contstruction plan
Plan and profile (pipe and ditch/swale)
Cross-sections (ditch, basin, swale, open channels, etc.)
Reports
Watershed map of proposed project site, pre and post construction
Narrative
Stage-volume
Stage-discharge
Calculations for (including model inputs):
Runoff. (Quantification of flows for specific rain fall events.)
Detention areas.
Stage/storage relationships.
Stage/discharge relationships.
Routing. (Calculation for inflows and outflows of a stormwater feature.)
Identify all impervious surface for pre and post construction.
Note: If sewer is tapping into an existing public City storm line a special use tap permit will be required.
O&M Manual
Erosion control plan per the construction general permit to provide adequate control of erosion and siltation for all sites regardless of land disturbance.
Construction site dewatering discharge location
SWPPP
SWPPP Application
Permit Certifciation Form
Plans
O&M
Report
Typical Items Needed:
Stormwater Contract
Special Use Permits
Encroachments
Stormwater Permit Certification Form
Maintenance Agreement
Recorded easements
Fees paid
SWPPP inspection
Typical ILP Holds:
Maintenance Agreement (Inspection & Maintenance Form)
Recorded easements
Fees paid
Special Use Permits
Typical Certificate of Compliance holds (contingent upon project requirements):
Final inspection
"As-built" record drawings and basin volume calculations
Final SWPPP inspection
Stormwater Comments:
35
Sanitary Sewer Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Each building must have an independent connection to a sanitary sewer.
Location of off-site sewer and tap.
Invert elevations of building sewer at the main and the building.
Elevations of all utilities in proximity or at crossing of sewer pipes.
Length, size, percent of slope and material of proposed building sewer.
Minimum size of building sewer is 6”.
Minimum slope of building sewer is 2% (1/4” per foot).
Top of sewer exiting building placed below the frost protection line (36”).
Cleanouts required every 100 feet and 5± feet outside the building on building sanitary sewer lateral.
Cleanouts placed at all breaks in building sewer line.
All 90 degree turns in building sanitary sewer laterals accomplished by 45-degree elbows. 90 degree elbows are not allowed.
Internal plumbing plans.
Provide anticipated flows from the proposed land use.
Control manhole, grease interceptor , or sand/oil separator may be required.
Typical Occupancy / Closeout Items:
Public main acceptance by City.
Private main approval by City.
Control Manhole Inspection.
External grease interceptor inspection.
Dye Trace by WPC Plant (Field Ops).
Sand/Oil Separator.
Area Connection Fees paid.
Final tap inspection approved/completed.
Sewer Comments:
14
0

## Secondary Development Plat
Project Name: |  |  | 0
Address: |  |  | 0
Secondary Development Plat Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please identify the Project Location and complete the General Requirments section and the appropriate utility section(s) below.
Water
Stormwater
Sanitary
Project Location
Is the project located inside Fort Wayne city limits?
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
Site/Permit Number in ACCELA
Legal Description of Site
Certification by registered engineer, architect, or land surveyor
North Arrow
Location Map
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Street Names
Existing and proposed easements - please provide document numbers for existing Easements
Comments:
11
Water Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Connection line shown to City water mains.
Note: The Utility will not tap a private water main. Approval from City Utilities Engineering is required for service connections on water mains 16" and larger.
Domestic service line, fire service, and irrigation service (if applicable) separated and valved outside building. Label the valve on the fire line as ‘Yard PIV’ (Post Indicator Valve) and domestic/irrigation line as gate valve.
Water Comments:
2
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Stormwater Management Plan
Drawings
Topographical/boundary survey
Note: Survey must include the following: · Overland flow path and elevations need to be identified. · Flood protection grade should be labeled for every building. · Any applicable FEMA map should be referenced by number. · A statement addressing the potential wetlands based on the National Wetlands Inventory Maps or best available information as designated by CUE.
Proposed and existing drainage plan, including discharge points for existing and/or proposed sump pumps, geothermal systems, and downspouts
Proposed stormwater infrastructure
Detention and post contstruction plan
Plan and profile (pipe and ditch/swale)
Cross-sections (ditch, basin, swale, open channels, etc.)
Reports
Watershed map of proposed project site, pre and post construction
Narrative
Stage-volume
Stage-discharge
Calculations for (including model inputs):
Runoff. (Quantification of flows for specific rain fall events.)
Detention areas.
Stage/storage relationships.
Stage/discharge relationships.
Routing. (Calculation for inflows and outflows of a stormwater feature.)
Identify all impervious surface for pre and post construction.
Note: If sewer is tapping into an existing public City storm line a special use tap permit will be required.
O&M Manual
Erosion control plan per the construction general permit to provide adequate control of erosion and siltation for all sites regardless of land disturbance.
Construction site dewatering discharge location
SWPPP
SWPPP Application
Permit Certifciation Form
Plans
O&M
Report
Typical Items Needed:
Stormwater Contract
Special Use Permits
Encroachments
Stormwater Permit Certification Form
Maintenance Agreement
Recorded easements
Fees paid
SWPPP inspection
Typical ILP Holds:
Maintenance Agreement (Inspection & Maintenance Form)
Recorded easements
Fees paid
Special Use Permits
Typical Certificate of Compliance holds (contingent upon project requirements):
Final inspection
"As-built" record drawings and basin volume calculations
Final SWPPP inspection
Stormwater Comments:
35
Sanitary Sewer
Sewer Comments:
0

## SITE
Project Name: |  | 0
Address: |  | 0
SITE Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please identify the Project Location and complete the General Requirments section and the appropriate utility section(s) below.
Water
Stormwater
Sanitary
Project Location
Is the project located inside Fort Wayne city limits?
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
DPS Site Permit Record Number/Permit Number in ACCELA
Date of Plan Preparation
Certification by registered engineer, architect, or land surveyor
North Arrow
Location Map
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Street Names
Existing and proposed easements - please provide document numbers for existing Easements
Finished floor or slab elevations shown in North American Datum of 1988 (NAVD 88) datum
Dimensions of proposed building(s), intended use
Front, side, and rear dimensions
Location, size and depth of all existing water, sanitary sewer and stormwater piping
Location, size and depth of all proposed water, sanitary sewer and stormwater piping
Phasing of project if applicable
Comments:
17
Water Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Connection line shown to City water mains.
Note: The Utility will not tap a private water main. Approval from City Utilities Engineering is required for service connections on water mains 16" and larger.
Plumbing plans to include all piping and fixture inside building including isometric, meter (include locking bypass on all meters 1 1/2” and larger) and expected flows (in GPM).
Water main extension projects require hydraulic calculations in accordance with Design Standards Manual. Submittal shall include all of the following: Exhibit W5-2, Exhibit W5-3, Exhibit W5-4, Exhibit W5-5, Exhibit W5-6, Exhibit W5-7, Exhibit W5-8.
Domestic service line, fire service, and irrigation service (if applicable) separated and valved outside building. Label the valve on the fire line as ‘Yard PIV’ (Post Indicator Valve) and domestic/irrigation line as gate valve.
If fire protection will be provided for the project, fire protection plans will need to be submitted to Development Services for review and approval.
If a booster pump is being proposed, explain why. Show the location and size of proposed pump. Provide proposed water demand and pump specifications. Provide a notation near any suction control valves that they maintain a minimum pressure of 20psi.
Per the Fort Wayne Water Utility General Rules and Regulations a project may be required to have a backflow preventer.
Note: If a backflow preventer is required and the water service line is between 5/8” and 1” then the backflow preventer must be installed after the meter. If the water service line is 1½” or larger then the backflow preventer must be installed after the locking meter bypass line. Note that the height of all backflow preventers must be between 12” to 60” above the finished floor. Type of backflow device for a fire, domestic, and irrigation line is as follows respectively: Double Check Valve Assembly, Reduced principle Pressure Device, and Vacuum Breaker.
The following notes must be added to the plans if applicable to the project:
All work shall conform to State and local plumbing and backflow prevention codes and with all specifications of the Fort Wayne Water Utility as identified in the City Utilities Design Standards Manual.
All water taps, water lines and fire lines 3” or larger must be disinfected. All samples from two consecutive days must be taken to an approved testing lab, and the lab analysis reports must be submitted to Development Services showing that the samples have passed the tests for two consecutive days per ANSI/AWWA C651-92, the AWWA standard for disinfecting water mains.
Vacuum breakers must be installed on all existing or proposed hose bibs, mop/service sinks and wall yard hydrants.
Backflow devices are to be tested upon installation with test results submitted to Development Services. For existing backflow devices, a report in conformance with Fort Wayne Water Utility General Rules and Regulations and state code must be submitted to City Utilities Development Services.
Typical Certificate of Compliance holds (contingent upon project requirements):
Disinfection test reports
Backflow certification on fire line
Backflow certification on domestic line
Backflow certification on irrigation line
As-built plan of private water main extension
Re-certification on backflow preventers if expired
Final inspection - by City Utilities Engineering
System Development Charge paid
Public water main extension acceptance
Water Availability Fee paid
Water Comments:
11
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Stormwater Management Plan
Drawings
Topographical/boundary survey
Note: Survey must include the following: · Overland flow path and elevations need to be identified. · Flood protection grade should be labeled for every building. · Any applicable FEMA map should be referenced by number. · A statement addressing the potential wetlands based on the National Wetlands Inventory Maps or best available information as designated by CUE.
Proposed and existing drainage plan, including discharge points for existing and/or proposed sump pumps, geothermal systems, and downspouts
Proposed stormwater infrastructure
Detention and post contstruction plan
Plan and profile (pipe and ditch/swale)
Cross-sections (ditch, basin, swale, open channels, etc.)
Reports
Watershed map of proposed project site, pre and post construction
Narrative
Stage-volume
Stage-discharge
Calculations for (including model inputs):
Runoff. (Quantification of flows for specific rain fall events.)
Detention areas.
Stage/storage relationships.
Stage/discharge relationships.
Routing. (Calculation for inflows and outflows of a stormwater feature.)
Identify all impervious surface for pre and post construction.
Note: If sewer is tapping into an existing public City storm line a special use tap permit will be required.
O&M Manual
Erosion control plan per the construction general permit to provide adequate control of erosion and siltation for all sites regardless of land disturbance.
Construction site dewatering discharge location
SWPPP
SWPPP Application
Permit Certifciation Form
Plans
O&M
Report
Typical Items Needed:
Stormwater Contract
Special Use Permits
Encroachments
Stormwater Permit Certification Form
Maintenance Agreement
Recorded easements
Fees paid
SWPPP inspection
Typical ILP Holds:
Maintenance Agreement (Inspection & Maintenance Form)
Recorded easements
Fees paid
Special Use Permits
Typical Certificate of Compliance holds (contingent upon project requirements):
Final inspection
"As-built" record drawings and basin volume calculations
Final SWPPP inspection
Stormwater Comments:
35
Sanitary Sewer Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Each building must have an independent connection to a sanitary sewer.
Location of off-site sewer and tap.
Elevations in North American Vertical Datum of 1988 (NAVD 88) Datum.
Invert elevations of building sewer at the main and the building.
Elevations of all utilities in proximity or at crossing of sewer pipes.
Length, size, percent of slope and material of proposed building sewer.
Minimum size of building sewer is 6”
Minimum slope of building sewer is 2% (1/4” per foot).
Top of sewer exiting building placed below the frost protection line (36”).
Finish floor elevation of building.
Cleanouts required every 100 feet and "5± feet outside the building on building sanitary sewer lateral.
All 90 degree turns in building sanitary sewer laterals accomplished by 45-degree elbows.
Internal plumbing plans.
Provide anticipated flows from the proposed land use.
Control manhole, grease interceptor , or sand/oil separator may be required.
Typical Certificate of Compliance holds (contingent upon project requirements):
Final tap inspection by New Water & Sewer. Call (260) 427-1161 prior to backfilling.
External grease interceptor inspection.
Control Manhole inspection
Dye Trace by WPC Plant (Field Ops).
Area Connection Fees paid.
Sand/Oil Separator.
Public main acceptance by City.
Private main approval by City.
Sewer Comments:
15
0

## SFR
Project Name: |  | 0
Address: |  | 0
Single Family Residential (SFR) Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please complete the appropriate utility sections below.
Water
Stormwater
Sanitary
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name / Site Address
DPS Record Number/Permit Number in ACCELA
Date of Plan Preparation
Certification by registered engineer, architect, or land surveyor
North Arrow
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Street Names
Finished floor or slab elevations shown in North American Datum of 1988 (NAVD 88) datum
Location, size and depth of all existing water, sanitary sewer and stormwater piping
Location, size and depth of all proposed water, sanitary sewer and stormwater piping
Comments:
12
Water Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Connection line shown to City water mains.
Note: The Utility will not tap a private water main. Approval from City Utilities Engineering is required for service connections on water mains 16" and larger.
Plumbing plans to include all piping and fixture inside building including isometric, meter (include locking bypass on all meters 1 1/2” and larger) and expected flows (in GPM).
Domestic service line, fire service, and irrigation service (if applicable) separated and valved outside building. Label the valve on the fire line as ‘Yard PIV’ (Post Indicator Valve) and domestic/irrigation line as gate valve.
All work shall conform to the State and local plumbing and backflow prevention codes and with all specification of the Fort Wayne Water Utility as identified in Design Standards.
Meter Detail with Meter Size Noted
Typical Certificate of Compliance holds (contingent upon project requirements):
Final inspection and approval from the Allen County Building Department.
System Development Charge paid.
Public water main extension acceptance
Water Availability Fee paid
Water Comments:
5
Stormwater If this site is not part of a larger plan, please contact Development Services for additional requirements.
Sanitary Sewer Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Each building must have an independent connection to a sanitary sewer.
Location of off-site sewer and tap.
Elevations in North American Vertical Datum of 1988 (NAVD 88) Datum.
Invert elevations of building sewer at the main and the building.
Elevations of all utilities in proximity or at crossing of sewer pipes.
Length, size, percent of slope and material of proposed building sewer.
Minimum size of building sewer is 6”
Minimum slope of building sewer is 2% (1/4” per foot).
Top of sewer exiting building placed below the frost protection line (36”).
Finish floor elevation of building.
Cleanouts required every 100 feet and "5± feet outside the building on building sanitary sewer lateral.
All 90 degree turns in building sanitary sewer laterals accomplished by 45-degree elbows.
Internal plumbing plans.
Typical Certificate of Compliance holds (contingent upon project requirements):
Final tap inspection by New Water & Sewer. Call (260) 427-1161 prior to backfilling.
Area Connection Fees paid
Public main acceptance by City
Private main approval by City
Sewer Comments:
13
0

## SWIM
Project Name: |  | 0
Address: |  | 0
Swimming Pool (SWIM) Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please identify the Project Location and Pool Type and complete the General Requirments section and the appropriate utility section(s) below.
Water
Stormwater
Sanitary
Project Location
Is the project located inside Fort Wayne city limits?
Pool Type
Commercial Pool
Residential Pool
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
DPS Record Number/Permit Number in ACCELA
Property Lines
Existing and proposed easements - please provide document numbers for existing Easements
Comments:
4
Water Please confirm that the following item is included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Connection line shown to City water mains.
Water Comments:
1
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Site Map (Note: Overland flow path needs identified)
Proposed pool
Existing utilities
Regulated drains
Typical Certificate of Compliance Comments
Any and all discharges of water from swimming pools shall be directed to a sanitary sewer per Fort Wayne Stormwater Utility Rules and Regulations. Please coordinate any discharges with City Utilities.
Erosion control measures need to be made to prevent runoff from leaving the site and prevent standing water on the site per City of Fort Wayne Code 152.04 (C)(2).
Stormwater Comments:
4
Sanitary Sewer Please confirm that the following item is included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Each building must have an independent connection to a sanitary sewer.
Sewer Comments:
1
0

## Remodel
Project Name: |  | 0
Address: |  | 0
Remodel Please indicate the applicable utility(s) needed for this project by selecting 'Yes' or 'No' next to each utility. Once done, please complete the appropriate utility sections below.
Water
Sanitary
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
DPS Record Number/Permit Number in ACCELA
Proposed building intended use
Location, size and depth of all existing water, sanitary sewer and stormwater piping
Location, size and depth of all proposed water, sanitary sewer and stormwater piping
Phasing of project if applicable
Comments:
6
Water Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Internal plumbing plans
Existing and proposed Water Meters and Backflow Preventers.
Typical Certificate of Compliance holds (contingent upon project requirements):
Disinfection test reports
Backflow preventers (domestic, fire and irrigation devices) tests
Final inspection
System Development Charge paid
Water Comments:
2
Sanitary Sewer Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Internal plumbing plans.
Provide anticipated flows from the proposed land use.
Control manhole, grease interceptor , or sand/oil separator may be required.
Typical Certificate of Compliance holds (contingent upon project requirements):
Final tap inspection by New Water & Sewer. Call (260) 427-1161 prior to backfilling.
External grease interceptor inspection
Control Manhole inspection
Dye Trace by WPC Plant (Field Ops)
Area Connection Fees paid
Sand/Oil Separator
Sewer Comments:
3
0

## Driveway
Project Name: |  | 0
Address: |  | 0
Driveway Please indicate the type of driveway below.
Residential
Non-residential
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
Site/Permit Number in ACCELA
Date of Plan Preparation
Legal Description of Site
Certification by registered engineer, architect, or land surveyor
North Arrow
Location Map
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Street Names
Distance to nearest street intersection centerline
Existing and proposed easements - please provide document numbers for existing Easements
Right-of-Way encroachments identified, if any exist
Benchmarks in Horizontal NAD83/IN83-EF and Vertical NAVD 88 datums
Finished floor or slab elevations shown in North American Datum of 1988 (NAVD 88) datum
Location, size and depth of all existing water, sanitary sewer and stormwater piping
Location, size and depth of all proposed water, sanitary sewer and stormwater piping
Phasing of project if applicable
Erosion control plan adequate for all site disturbance
Comments:
20
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Residential Requirements
Topographical and boundary survey/map
Pipe materials culvert sizes
Non-residential Requirments
Erosion control plan.
Grading and drainage plan
Calculations for:
Runoff. (Quantification of flows for specific rain fall events.)
Detention areas.
Stage/storage relationships.
Stage/discharge relationships.
Topographical and boundary survey/map
Note: The overland flow path needs identified.
Watershed of proposed project site, pre and post construction
Pipe materials, elevations, waterway openings, and culvert sizes pre and post construction of project watershed.
Identify all impervious surface for pre and post construction.
Typical Certificate of Compliance holds (contingent upon project requirements):
Final inspection.
Maintenance agreement if detention is needed
Fees paid
Stormwater Comments:
2
11
0

## Parking Lot
Project Name: |  | 0
Address: |  | 0
Parking Lot
Blank
General Requirements Following are general requirements that are necessary and must be shown on plans before a full engineering review can begin. Please confirm that each item is included by selecting 'X' next to each item.
Project Name
Site/Permit Number in ACCELA
Date of Plan Preparation
Legal Description of Site
Certification by registered engineer, architect, or land surveyor
North Arrow
Location Map
Indication of plan scale — (engineer scale only)
Property Lines
Existing street right-of-way with dimensions
Street Names
Distance to nearest street intersection centerline
Existing and proposed easements - please provide document numbers for existing Easements
Right-of-Way encroachments identified, if any exist
Benchmarks in Horizontal NAD83/IN83-EF and Vertical NAVD 88 datums
Finished floor or slab elevations shown in North American Datum of 1988 (NAVD 88) datum
Location, size and depth of all existing water, sanitary sewer and stormwater piping
Location, size and depth of all proposed water, sanitary sewer and stormwater piping
Phasing of project if applicable
Erosion control plan adequate for all site disturbance
Comments:
20
Stormwater Please confirm that the following items are included in drawings by selecting 'X'. Please select 'N/A' if the item is not applicable to the project.
Erosion control plan.
Grading and drainage plan
Calculations for:
Runoff. (Quantification of flows for specific rain fall events.)
Detention areas.
Stage/storage relationships.
Stage/discharge relationships.
Topographical and boundary survey/map
Note: The overland flow path needs identified.
Watershed of proposed project site, pre and post construction
Pipe materials, elevations, waterway openings, and culvert sizes pre and post construction of project watershed.
Identify all impervious surface for pre and post construction.
Typical Certificate of Compliance holds (contingent upon project requirements):
Final inspection.
Maintenance agreement if detention is needed
Fees paid
Stormwater Comments:
11
0